## Slide 1: SAFETY AND FACILITIES PLANNING Scott Landrigan 04-09-18

## Slide 2: Safety and Security
Program Development
Policies and Procedures 3432, 3432P
District Emergency Operations Plan (EOP)
School Emergency Response Plan (ERP)
Recent Improvements Overview
Future Improvements Strategies/Lessons Learned

## Slide 3
3432
Policy
FEMA
OSHA
SAFE SCHOOLS
RCW’s
WAC’s
Rapid Responder
NFPA
ESD 112
HE Safety Plan
(District) Emergency Operations Plan
3432
Procedure
WPS ERP
WIS ERP
WMS ERP
WHS ERP
Yale ERP
Program Architecture
School Level
Plans
OSPI
Requirements

## Slide 4
Policy and Procedure 3432
Key Points
Identification of District responsibilities
Implementation of Standard Response Protocol (SRP)
Police and fire collaboration
Communication
Visitor to the District
Educational continuity
Special needs students
Utility isolation and HMIS maps
Contents of the District and school level plans
Hazardous material storage and utility isolations
Probability Modeling
Provides Legal and Regulatory Requirements for School Emergency planning
Standardizes Emergency Planning Activities Across the District
Incident Command System deployment and training and responsibilities
Reunification planning, deployment and MOUs
Staff Training of building emergency systems (JSA’s)
Drill scheduling and critiquing
Campus Security and access
Development of emergency response plans

## Slide 5: School Safety Probability Modeling Exercise
Establishes emergency procedures based on the uniqueness of each campus
A team of 5-6 at each campus created model for that school
31 emergencies evaluated in four categories
  Natural – Earthquake, flood, tsunami's, volcanic activity
  Man-made – Train derailment, toxic gas, dam failure
  Infectious diseases – Pandemic, influenza, tuberculosis, meningitis
  Adversarial- Gang activity, gun violence, kidnapping, riots
Each emergency is graded by:
  Probability – How likely is this event?
  Magnitude – If it happened, what is the level of impact?
  Warning – Would there be advanced warning?
  Duration – How long would the event last?
Highest graded emergencies are part of the schools ERP

## Slide 6: School Safety District-Emergency Operations Plan (EOP)
Identifies/establishes requirements for school level plans
Appointment letter
District Procedure 3432P
Identifies SRP as the primary response program for Woodland Schools
Defines ICS roles and responsibility
Copy of Accident Prevention Program
Directs schools to perform Probability Modeling
Job Safety Analysis
Hazard Communication
Identifies drill schedules and critiques
MOU’s for reunification
Provides District Level Support Documents and Procedures

## Slide 7: School Safety School-Level Plans (ERP’s)
District Procedure
Standard Response Protocol
Standard Reunification Method
Emergency Response Plans (based on probability model exercise)
Utility isolation maps
Hazardous material maps
Student and staff list
First aid providers
Substitute reference sheet
Critical phone numbers
ICS duties and assignments

## Slide 8: School Safety Recent improvements to school safety:
HVAC shutdown
CO detectors installed in all classrooms with natural gas heating
Lockdown and secretary panic device in each school office
Fencing improvements
Security cameras installed at all schools linked to WPD
Card key access system/rekey schools
Job Safety Analysis (JSA’S)
New policy/procedure/District and school-level plans
Reunification MOU’s
Implementation of Standard Response Protocol
All custodial staff trained on building isolations

## Slide 9: School Safety Looking Forward
Automated combustible gas detectors WMS/WPS
Yale cameras
Reunification go kits (in progress)
Entry camera and monitors (in progress)
Weather station installation
Link security cameras to WPD
Removal of fire pull stations

## Slide 10: Facilities planning WPS, WIS, WMS, WHS, YALE
Historical mapping
School statistics
Roofing plan
Blacktop plan
Utility overview
  Water
  Fire systems
  Electrical distribution
  Natural gas
HVAC overview and needed improvements
Structural and interior finishes
Plumbing plan
Portable building plan
10 year cost summary by school
Fleet vehicles and grounds equipment
Preliminary seismic report
10 year District financial impact report

## Slide 11: WSD Facilities Plan Introduction
This presentation is based on a 10 year plan.
Costs are based on today’s rate, expect a 2% to 3 % increase per year.
It will become obvious that all items listed can not be addressed, due to budget constraints.
Items will be prioritized based on the following criteria:
  Safety, health, environmental
  Compliance to law
  Quality of instruction
  Asset protection
  Asset replacement
Alternate methods for cost reduction will be provided, including:
  Alternate materials
  In-house completion of projects
  Each campus will be discussed independently and a final District summary will be given

## Slide 12: Roofing Types
Composition 3 tab
Metal
Built up with composition roll cap
Composition
Architectural
TPO
Thermoplastic Polyolefin
Plastic/rubber with filler
(Heat-welded seams)
EPDM Ethylene Propylene
Diene Monomer
(Glued seams)
PVC
Poly vinyl chloride
(Heat-welded seams)
PITCHED ROOFS
FLAT OR ROOFS
WITH LOW PITCH
Roof Coatings
Silicone-based
GE Enduris 3500

## Slide 13: Roofing Variables
Roof life expectancy and influences
  Type of material
  Weather
  Pitch
  Age
  Facing direction
Location of insulation
  Energy code compliance
Full rip off vs. cover
  Asbestos concerns on older schools
  Energy code requirements
  Number of existing layers
Alternate options to extend existing systems
  Roof coatings
  Must have suitable decking and structure
Cost of delaying
  Mold
  Compromised decking
  Structural Failure

## Slide 14: Roofing Cost and Pricing Variables
Adders and other pricing considerations
that influence total cost
Number of roof layers
Stripping off old roof vs. cover
Decking and structural repairs
Insulation requirements type/location
Material type (cap)
Method of attachment
Roof penetrations
Warranty
For this presentation the following
standard costs are used:
All sloped comp roofs $4.50 sqft.
Flat roofs @ $6.50 sqft.
Metal roofs @ $10.50 sqft.
Roof coating @ $2.25 sqft.
Pitched Roof |  | Flat Roof | 
3 Tab | $3-$7 | PVC/TPO/EPDM | $3-$7
Architectural | $3.50 - $7 | SBS Built up | $3.50-$8
Metal | $7-$12 | Roof coating | $1.50-$2.50

## Slide 15: WPS School Statistics
  Site 7.91 acres (1 lot)
  Building area 1.30 acres
  Field adjacent to school 1.44 acres (2 lots)
  Original construction 1971-72,
    42,743 sqft. (As Middle School)
  Addition 1992-93 adds 13,643 sqft. (current K-wing)
  Total sqft. 56,386
  Classrooms 21/2
    10 classrooms K-wing
    11 Classrooms 1st grade wing
    2 art/music studios (locker room conversion)
  Parking 83 spaces, 3 ADA, no designated bus parking
  64 staff, 334 students
Home of Kit the Beaver

## Slide 16: WPS Historical Look
1972 Initial construction
11 classrooms, gym, music
café
CVR
PLAY
ART/MUSIC
GYM
K-WING
1st GRADE WING
1982 Locker room expansion, covered play area
1992 Addition
Adds 10 classrooms

## Slide 17: WPS Roofing and Blacktop Plan
A
B
C
4
1
2
3
D
Roofing
1 Covered play structure
2 Gym, café & mezzanine
3 1st grade wing
4 K-wing
Blacktop
A Recess area
B Field Parking
C Main parking
D Portable aprons

## Slide 18
WPS
Roofing Analysis
Name /Area | Sqft. | Current Type | Grade | Remaining Life | Cost of Repair | Note
Covered play area | 3,500 | Built up Comp. cap | D | 2024 | $22,750 | Full rip off, TPO recover
Gym/cafeteria | 15,650 | Built up Comp. cap | D- | Coat 2018 | $37,460 | Excellent coating candidate
1st grade wing | 25,380 | Built up Comp. cap | D | Coat 2020 | $57,105 | Excellent coating candidate
K-wing | 16,250 | Built up Comp cap | C | Coat 2026 | $36,562 | Excellent coating candidate
A | New condition | B | Near new condition 75% | C | Mid life span 50% | D | Moderate repairs 25% | F | Imminent failure, replace

## Slide 19
WPS
Blacktop Analysis
Name /Area | Sqft. | Current Type | Grade | *Cost of Repair sqft. | Extend Cost | Note
Playground area | 22,000 | Blacktop | D | .36 | $7,920 | Sealcoat 2018/2023
West parking | 11,000 | Blacktop | A | .36 | $3,960 | Sealcoat/stripe/repaired 2022/2027
Main parking lot | 34,000 | Blacktop | C | .36 | $12,240 | Sealcoat/stripe/repaired 2019/2024
Portable approach | 10,500 | Blacktop | D | .36 | $3,780 | Seal coat/stripe/repaired 2020/2025
A | New condition | B | Near new condition slight but even wear | C | Worn light cracking | D | Course W/multiple cracks water damage | F | Imminent failure, replace

## Slide 20: WPS Flooring
Room Area | Material | Condition | RPL Cost | Room Area | Material | Condition | RPL Cost | Room Area | Materal | Condition | RPL Cost
Old music | VCT | C 22-25 | 3,500 | 103 | Carpet | A >10 year |  | 202 | VCT Carpet | B/C 26/25 | 5,000
Cafe | VCT | C 22-25 | 3,500 | 104 | Carpet | A >10 year |  | 203 | VCT Carpet | B/C 26/25 | 5,000
Gym | Plastic | A >10 year |  | 105 | Carpet | A >10 year |  | 204 | VCT Carpet | B/C 26/25 | 5,000
Kitchen | Epoxy | C 22-25 | 5,000 | 106 | Carpet | A >10 year |  | 205 | VCT Carpet | B/C 26/25 | 5,000
Art/music | Carpet | C 22-25 | 5,000 | 107 | Carpet | A >10 year |  | 206 | VCT Carpet | B/A >26 | 
Lobby | VCT | D- 18-21 | 3,500 | 108 | Carpet | A >10 year |  | 207 | VCT Carpet | B/A >26 | 
Office | Carpet | A >10 year |  | 109 | Carpet | A >10 year |  | 208 | VCT Carpet | B/C 26/25 | 5,000
Library | Carpet | A >10 year |  | 110 | Carpet | A >10 year |  | 209 | VCT Carpet | B/C 26/25 | 5,000
101 | Carpet | A >10 year |  | 111 | Carpet | A >10 year |  | 210 | VCT Carpet | B/C 26/25 | 5,000
102 | Carpet | A >10 year |  | Office | Carpet | A >10 year |  | Hall | VCT | B 26-27 | 12,000
 |  |  |  | 201 | VCT Carpet | B/C 26/25 | 5,000 | Comm | Carpet | A >10 year | 
A | New or like new > 10 years Life | B | Slight even wear replace estimated 26-27 | C | Worn evenly no damage, replace Estimated 22-25 | D | Perm. stain, minor de-lamination seam damage replace 18-21 | F | Extensive damage replace immediately

## Slide 21: WPS HVAC
Conference room electric A/C roof top package unit. Replacement needed 35+ years old $15,000.
Two 40 ton gas electric air handling rooftop units, 25+ years old, near the end of normal service life, but still in good operating condition. Estimated cost to upgrade $15,000.
K-wing air handler A/C system with individual room VAV units, with resistance electric heaters. 25+ years, near end of normal service life, but still in good operating condition >10.
Gym side of building had new boilers installed 5 years ago. Boilers are connected to the original 1970’s air handling units. The original air handling units should continue to be serviced and repaired with no complete replacements needed within 10 years.
Roof exhaust fans, welded seams failing on numerous locations, will replace with roof work $7,500.
Entire school had a HVAC control system upgrade 5 years ago, NCC.
Art/Music room, install split systems @ $7500 each.

## Slide 22: WPS Structural and Exterior/Interior Finishes
  Wood stringers in parapet, selective replacement with T1-11 siding $6,500 – 2023
  Open seams in exterior masonry - clean, repair, seal ,$12,500 - 2019
  Replace ceiling tiles in selective areas damaged by roof leaks, $7500 – 2018 (safety)
  Entire exterior of campus painted 2016/2017

## Slide 23: WPS Utilities
Water /Plumbing
Dedicated drinking water line $15,000 - 2019
Replace balance of galvanized piping 1st grade wing $25,000 -2021
Large section of piping replaced at Christmas 2017 with Wirsbo-PEX,
Fire Systems
Original construction no fire sprinklers $150,000 –grant candidate
K-wing full sprinklers
Electrical
  Panel locks/covers and remote switching $3,500 - 2018
  Switchboard, panel labeling and schedules $2,500 - 2018
  Switchboard and panel cleaning/ torqueing/lubrication and testing $2,500 - 2018
  Breaker coordination study/ load survey $2,500 -2019
Natural Gas
  Leak detect, isolation boiler room, $8,500 -2019

## Slide 24: WPS Utilities

## Slide 25: WPS Grounds Overview
Bus, Bike, Student and Pedestrian
Safety Corridor
Install 900 linear feet sidewalk
62,000 sqft. blacktop
Install speed bumps
Bus parking area
60 parking stalls
2 Pedestrian crosswalks
Designated bike Lane
**Estimated $145,000
Working in partnership with COW
acquiring grants and cost split
** Not in school cost sheet, preliminary cost estimate,
not hard quoted

## Slide 26: WPS -Portable Buildings
Port. Bldg. | Use | Roof | Side | Ramp | Flooring | Interior Finishes | Ext Paint | Restrooms | Roof
PO 2/3 | WCC | 3 Tab | A | 2019 $5,000 | 2023 $7,000 | 2023 $3,000 | 2024 $1000 | - | 2019 8000
PO 4/5 | Storage | RPL | A | 2018 $5,000 | 2020 $7,000 | 2020 $3,000 | 2024 $1000 | - | -
PO 6/7 | Comm. out reach | Metal | A | 2018 $5,000 | 2022 $7,000 | 2022 $3,000 | 2024 $1000 | - | Metal
PO 8/9 | ECAP- LCC | 3 tab New | A | New | 2019 $7,000 | 2019 $3,000 | 2024 $1000 | - | -
PO 10/11 ** | Storage LCC | Metal | F | 2018 $5,000 | 2018 $7,000 | 2018 $3,000 | 2018 $1000 | 2018 $10,000 | Metal
PO 12/13 | ECAP Head start | 3 tab | C | 2021 $5,000 | 2021 $7,000 | 2021 $3,000 | 2021 $1000 | - | 2022 $8,000
PO 14 Non-District | CO-OP Preschool | - | - | - | - | - | - | - | -
** High cost in 2018 attributed to ground up rebuild of P10/11 for expanded preschool program $26k.
Total cost for this slide $112k.
2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
36k | 23k | 10k | 16k | 18k | 10k | 4k

## Slide 27: WPS 120 month Facilities plan
6 month | 1 year 2018 | 2 year 2019 | 3 year 2020 | 4 year 2021 | 5 year 2022 | 6 year 2023 | 7 year 2024 | 8 year 2025 | 9 year 2026 | 10 year 2027
Roof | $37,460 |  | $57,105 | - | - | - | $22,750 | $57,105 | - | -
Blacktop | $7,920 | $12,240 | $3,780 | - | $3,960 | $7,920 | $12,240 | $3,780 | - | $3960
Flooring | $3,500 | - | - | - | $15,000 | $15,000 | $15,000 | $5,000 | $7,000 | -
HVAC | $7,500 | $15,000 |  | $15,000 | $15,000 |  |  |  |  | 
Structural /Exterior | $7,500 | $12,500 |  |  |  | $6,500 |  |  |  | 
Utilities | $17,500 | $26,000 | $150,000-G | $25,000 |  |  |  |  |  | 
**Grounds | $145,000-G |  |  |  |  |  |  |  |  | 
Portables | $36,000 | $23,000 | $10,000 | $16,000 | $18,000 | $10,000 | $4,000 |  |  | 
Total WPS (WO grant$$) | $122,380 | $88,740 | $70,885 | $56,000 | $51,960 | $39,420 | $53,990 | $65,885 | $7,000 | $3,960

## Slide 28: WIS School Statistics
  Site 10.68 acres (3 lots)
  Building footprint approximately 1 acre (.97)
    Main school parcel 218,671 sqft. (5.02 acres)
    Sports field 236,095 sqft. (5.41 acres)
    Acquired property 10,000 sqft. (.25 acres)
  Original construction 1997/1998
  Classrooms
    22 classrooms
    1 Resource room (currently SPED classroom)
    1 Music room
  Parking - 91 car, 5 ADA, 15 Bus
  Current staff 497 students 71 staff
Home of the
Eagles

## Slide 29: WIS Historical Look
2017 Two Portables Installed August 2017
1997/1998
Initial construction

## Slide 30: WIS Roofing and Blacktop Plan
WIS ROOFING MAP
Covered play area
Gym
Classroom wing south
Classroom wing north
Entry canopy
BLACKTOP MAP
A Bus/main parking lot
B Playground and walking path
1
A
B
2
5
3
4
A

## Slide 31: WIS Roofing
Name /Area | Sqft. | Current Type | Grade | Remaining life | Replace Cost | Notes
Covered Play Area | 4,764 | Metal | B | >10 years | N/A | 
Gym | 12,870 | Metal | B | >10 years | N/A | 
Classroom Wing South | 10,472 | Metal | B | >10 years | N/A | 
Classroom Wing North | 16,588 | Metal | B | >10 years | N/A | 
Entrance Awning | 1,501 | Metal | B | >10 years | N/A | 

## Slide 32: WIS Blacktop Analysis
Name /Area | Sq/ft | Current Type | Grade | Cost of Repair sqft | Extended Cost | Note
Main parking lot | 63,500 | Blacktop | A | .36 | $22,860 | Seal coated 2017 Sealcoat /stripe/repair 2022/2027
Playground | 46,500 | Blacktop | D | .36 | $16,740 | Sealcoat 2019/2024
A | New condition | B | Near new condition slight but even wear | C | Worn light cracking | D | Course W/multiple cracks/ water damage | F | Imminent failure, replace

## Slide 33: WIS Flooring
Room Area | Material | Condition | RPL < | Room Area | Material | Condition | RPL Cost | Room Area | Material | Condition | RPL Cost
Kitchen | Tile | A | >10 year | 103 | Carpet | B | 26-27 | 205 | Carpet | C | 22-25
Gym | Rubberized | B | 26-27 | 104 | Carpet | C | 22-25 | 206 | Carpet | C | 22-25
Restrooms | Tile | A | >10 year | 105 | Carpet | D | 18-21 | 207 | Carpet | C | 22-25
Music | Carpet | D | 18-21 | 106 | Carpet | D | 18-21 | 208 | Carpet | B | 26-27
Hallway | VCT Tile | B | 26-27 | 107 | Carpet | B | 26-27 | 210 | Carpet | D | 18-21
SPED | Carpet | C | 21-24 | 109 | Carpet | B | 26-27 | 211 | Carpet | C | 22-25
Sm OFF | Carpet | B | 26-27 | 113 | Carpet | C | 22-25 | 212 | Carpet | C | 22-25
Staff BRK | Carpet | C | 22-25 | 200 | Carpet | D | 18-21 | 213 | Carpet | C | 22-25
Comp Lab | Carpet | B | 26-27 | 201 | Carpet | A | >10 year | 214 | Carpet | C | 22-25
Library | Carpet | B | 26-27 | 202 | Carpet | B | 26-27 |  |  |  | 
101 | Carpet | B | 26-27 | 203 | Carpet | B | 26-27 |  |  |  | 
102 | Carpet | B | 26-27 | 204 | Carpet | C | 22-25 |  |  |  | 
A | New or like new > 10 years Life | B | Slight even wear replace estimated 26-27 | C | Worn evenly no damage replace Estimated 22-25 | D | Perm. stain, minor de-lamination seam damage replace 18-21 | F | Extensive damage replace immediately

## Slide 34
WIS HVAC
HVAC control system is obsolete and new replacement parts are unavailable. This system should be replaced as soon as possible. Estimated cost to replace 175K.
This is a two story school without A/C in the classrooms. The school gets uncomfortably hot in the early and late part of the school year. The current boilers and air handling units are original to the school and are nearing the end of the normal service life.
It’s recommended to replace the boilers, air handling units and add a chiller for building air conditioning.
Estimated cost for entire HVAC system upgrade 1.6 million. Expected to be part of future school expansion bond.

## Slide 35
WIS Structural and Exterior Finishes
Masonry block and stucco.
No major cost expected next 10 years.

## Slide 36: WIS Utility Overview
Water /plumbing
Copper, post lead
Install PEX drinking water line $25,000 2019
Fire Systems
  Wet/dry full building
  On routine testing cycle
Electrical
  All panels appropriately secured
  Panel schedules in place
  Need switchboard cleaning/lubrication/inspection $3500 2018
Gas
  Kitchen equipment
  4 hot water boilers
  2 commercial hot water heaters
  1 Reznor MAU (kitchen MAU)

## Slide 37: WIS Grounds
Irrigation tank and distribution, – $15,000 2019
Grade and landscape lot - $2,500 2018

## Slide 38: WIS Portable Buildings
Two portables installed August 2017
Each building 1736 Sqft. each
Initially constructed 2014, purchased used from Federal Way HS
Retrofitted with bathrooms prior to delivery
Exteriors painted prior to delivery, Paint 2025 ($2500)
New carpeting installed at delivery > 10 years
25 year roofing on each building >10years
Interior finishes like new at installation
No major cost expected within 10 years, other than routine preventive maintenance

## Slide 39: WIS 120 month maintenance plan
6 month | 1 year 2018 | 2 year 2019 | 3 year 2020 | 4 year 2021 | 5 year 2022 | 6 year 2023 | 7 year 2024 | 8 year 2025 | 9 year 2026 | 10 year 2027
Roof |  |  |  |  |  |  |  |  |  | 
Blacktop |  | $16,740 |  |  | $22,860 |  | $16,740 |  |  | $22,860
Flooring | $10,000 | $5,000 | $10,000 |  | $15,000 | $15,000 | $15,000 | $15,000 | $30,000 | $35,000
HVAC |  |  |  | *$1,600,000-B |  |  |  |  |  | 
Structural /Exterior |  |  |  | *3,000,000-B |  |  |  |  |  | 
Utilities | $3,500 | $25,000 |  |  |  |  |  |  |  | 
Grounds | $2,500 | $15,000 |  |  |  |  |  |  |  | 
Portables |  |  |  |  |  |  | $3,500 |  |  | 
Total WIS (WO grant/bond) | $16,000 | $61,740 | $10,000 |  | $37,860 | $15,000 | $35,240 | $15,000 | $30,000 | $57,860
*1.6 million for HVAC upgrade to existing building
and 3 million for 12,000 sqft expansion. 8 classroom
@ $250 sqft

## Slide 40: WIS Expansion Opportunities
Acquired property
2280 Lewis River Road, directly
to the north of the school north wing
House demolished December 2017
Property sqft. 11,000 (.3 acre)

## Slide 41: Woodland Middle School
Home of the Trojans

## Slide 42: WMS School Statistics
  Site 33.46 acres 2 parcels
  Buildings 3.02 acres
  Original construction (current site layout)
  1951/1953/1962/1964/1966/1967/1982/1993
    Classrooms 33/35 (teachers lounge
    consumes 2 rooms)
  Gross sqft. 132,000
  Parking 138 auto, 5 ADA 18 bus
  Students 724, staff 74

## Slide 43: WMS Historical Look
Originally constructed as Primary School in 1951
Green Hall extension 1964
Commons and classroom addition 1953/54 as part of WHS construction
Classroom addition (2) 1967
Yellow Hall addition 1962
Gym locker room 1982
Yellow Gym, Library addition and building modernization 1993

## Slide 44
WMS ROOFING MAP
Yellow Gym
Yellow Hall west
Yellow Hall main
Commons
Library bridge
Green Hall
Metal Shop
Green Gym
Green Mezzanine
Performing Arts
BLACKTOP
A North/Green Gym parking
B West parking, BB court, service road
C Bus parking, DO south
WMS Roofing Map
1
4
3
2
9
7
8
10
5
6
A
B
C

## Slide 45: WMS Roofing Analysis
Name /Area | Sq/ft | Type | Grade | Replace-ment | Cost | Note
Yellow Gym | 10,780 | Metal | C | >10 years | - | 
Yellow Hall west end | 15,325 | Composition S | A/C | 2021 | N/A -$34,481 | 
Yellow Hall main | 37,571 | Composition S | A/C | 2023 | N/A- $84,535 | 
Commons | 3,950 | Comp B/U | D- | 2020 | $25,675 | 
Library | 8,950 | Composition S | A/C | >10/2026 | $20,137 | 
Green Hall | 36,050 | Composition S | A/C | >10/2027 | N/A-$81,112 | 
Metal Shop | 7,700 | Comp B/U | D | 2024 | $17,325 | Possible coating
Green Gym | 10,150 | Comp B/U | F | 2018 | $65,975 | Tear off
Green Mezz | 5,000 | TPO | A | >10 years | - | 
Performing Arts | 6,720 | Comp B/U | D | 2019 | $15,120 | Possible coating

## Slide 46: WMS Blacktop Analysis
Name /Area | Sqft. | Current Type | Grade | Cost Sqft. | Extended cost | Note
North parking lot | 51,500 | Blacktop | D | .36 | $18,540 | Sealcoat/stripe/repaired 2019/2025
Playground, west parking, service rd. | 33,000 | Blacktop | C | .36 | $11,880 | Sealcoat/stripe/repaired 2020/2026
Commons and DO parking | 36,530 | Blacktop | C | .36 | $13,150 | Sealcoat/stripe/repaired 2021/2027
A | New condition | B | Near new condition slight but even wear | C | Worn light cracking | D | Course W/multiple cracks water damage | F | Imminent Failure, replace

## Slide 47: WMS Flooring
Yellow West |  |  |  | Yellow East |  |  |  | Green Hall |  |  | 
Room/Area | Material | Cond. | REPL | Rm/Area | Material | Cond |  | Room/Area | Material | Cond | Condition
313 | Carpet new | A | >10 yr | 449 | Carpet new | A | >10 yr. | 413 | Carpet new | A | >10 yr.
325 | Carpet new | A | >10 yr | 450 | Carpet new | A | >10 yr. | 415 | Carpet new | A | >10 yr.
LRA | Carpet tiles | B | 26-27 | 317 | Carpet new | A | >10 yr. | WMS Office | Carpet tiles | B | 26-27
Lkr Room | Epoxy | B | 26-27 | 314 | Carpet new | A | >10 yr. | 421 | Carpet new | A | >10 yr.
307 | Carpet new | A | >10 yr | 323 | Carpet old | B | 26-27 | 423 | Carpet new | A | >10 yr.
308 | Carpet new | A | >10 yr | 326 | Carpet old | D | 18-21 | 427 | Carpet new | A | >10 yr.
305 | Carpet old | D | 18-21 | 447 | Carpet old | D | 22-25 | 429 | Carpet new | A | >10 yr.
306 | Carpet old | D | 18-21 | 448 | Carpet old | D | 18-21 | 412 | Carpet old | D | 18-21
311 | Carpet old | C | 22-25 | 319 | Carpet old | D | 18-21 | 417 | Carpet old | C | 22-25
312 | Carpet old | C | 22-25 | 320 | Carpet old | B | 26-27 | 424 | Carpet old | B | 26-27
DO | Carpet old | D | 18-21 | Kitchen | Epoxy | B | 26-27 | 425 | Carpet old | B | 26-27
Main hall | Carpet old | C | 22-25 | 318 | VCT tile | B | 26-27 | 419 | Epoxy | C | 22-25
324 | Carpet old | D | 18-21 | Commons | VCT tile | B | 26-27 | 428 | VCT tile | A | >10 yr.
Gym hall | VCT tile | B | 26-27 | S. Commons | VCT tile | B | 26-27 | 426 | VCT tile | A | >10 yr.
Bathrooms | Tile | A | >10 | Comm hallway | VCT tile | B | 26-27 | 430 | VCT tile | B | 26-27
315 | VCT tile | B | 26-27 | Gym | Wood | B | >10yr. | 431 | VCT tile | B | 26-27
316 | VCT tile | B | 26-27 | Library | Carpet new | A | >10 yr. | 432 | VCT tile | A | >10 yr.
Yellow Gym | Wood | B | >10 yr | Yellow hall | Carpet | C | 22.25 | Green hall | VCT tile | F/A/B | 2018
A | New or like new > 10 years Life | B | Slight even wear replace estimated 26-27 | C | Worn evenly no damage replace Estimated 22-25 | D | Perm. stain, minor delamination seam damage replace 18-21 | F | Extensive damage replace immediately

## Slide 48: WMS HVAC
Computer server room A/C unit. The current A/C system is 23+ years old and is too small for the amount of heat generated by the number of installed computer equipment. Needs new larger system. Recommend adding a ductless A/C split system. 10K
LRA, District Office, Middle School Office, computer lab and science classrooms all have split heat pump units with air handlers that are beyond their normal service life 23+ years old, these will need to be replaced over the next 10 years as parts become unavailable. Estimated cost of project 175k.
Classroom furnaces. Each classroom and common hallway areas are heated by a residential style gas furnace. These gas furnaces are 23+ years old and many of the parts are no longer available. Furnaces will need to be replaced when parts fail. Estimated cost per furnace to replace 5K.
Gym and auditorium had new boilers installed this year. These boilers are connected to old air handling units that should continue to be serviced and repaired with no replacements needed anytime soon.
Entire school had a HVAC control system upgrade 5 years ago.

## Slide 49: WMS Structural Interior and Exterior Finishes
Mortar repair and seal brick $25,000 - 2019
Exterior painting and sealing – $25,000 – 2018-2021 (in house cost)
Ceiling tiles Green Gym (safety concern) $8500-2018
Floor leveling and coating covered lunch area, $8500-2019
Pass through hallway green/yellow halls $25,000-2021
Sidewalk to Green Gym from Green Hall west $14,000-2018

## Slide 50: WMS Utility Overview
Water
  Replace galvanized lines to gym and shop complex (service life expired) 2019 (25k)
  Install dedicated fountain service line 2018 (25k)
Electrical
  Install exterior LED lighting in covered play area 7.5k -2022
  Complete main switchboard maint. $4500 2018
  Repair broken panels and add exterior switching $4,500 - 2019
GAS
  Install gas leak detection and isolation system 2019 $25,000
Fire safety
  Clean up/map Simplex wiring 2018 $5000
22

## Slide 51: WMS Grounds
Item | Cost | When
Remove balance of pin oaks install new trees Buckeye St – undermining sidewalk and blacktop | $7,500 | 2018
Landscaping improvement entire campus | $7,500 | 2018
Well distribution storage tanks and distribution | $7,500 | 2019
Building gutter replacement | $17,325 | 2019
Covered walkway gutter replacement | $17,100 | 2019
Drywell drain line clearing | $4,500 | 2020

## Slide 52: WMS Portable Buildings
462
Port. Bldg. | Use | Roof | Side | Ramp | Flooring | Interior Finishes | Restroom | Cost /Notes
462 463 | FAC/Train ELL | C 2022 | New 2016 | New 2016 | New A New A | B B | No No | Roof 8K 2022
464 465 | GRN Rm Storage | D 2020 | New 2016 | New 2016 | VCT D VCT D | D D | No No | Flooring 2021-7k Roof 2020-8k Interior 2023-3k
466 467 | Training SS | C 2021 | New 2016 | New 2016 | Carpet C Carpet C | C C | No No | flooring 2022-7k Roof, 2021 -8k
468 469 | Music Testing | C 2022 | New 2016 | New 2016 | Carpet D Carpet B | B B | No No | Flooring 2020 – 7k Roof 2022 – 8k
470 471 | Comp lab Comp lab | D 2019 | New 2016 | Wood C | Carpet B Carpet B | B B | No No | Ramp 2019-5k Carpet 2026-7k Roof 2019 -8k

## Slide 53: WMS 120 month maintenance plan
6 month | 1 year 2018 | 2 year 2019 | 3 year 2020 | 4 year 2021 | 5 year 2022 | 6 year 2023 | 7 year 2024 | 8 year 2025 | 9 year 2026 | 10 year 2027
Roof | $65,975 | $15,120 | $25,675 | $34,481 |  | $84,575 | $17,325 |  | $20,137 | $81,112
Blacktop |  | $18,540 | $11,880 | $13,150 |  |  |  | $18,540 | $11,880 | $13,150
Flooring | $12,500 | $12,500 | $12,500 | $12,500 | $7,500 | $7,500 | $7,500 | $7,500 | $47,500 | $47,500
HVAC |  | $10,000 | $15,000 | $43,750 | $15,000 | $43,750 | $15,000 | $43,750 | $15,000 | $43,750
Structural /Exterior | $18,500 | $43,500 | $10,000 | $25,000 |  |  |  |  |  | 
Utilities | $34,500 | $49,500 |  |  | $7,500 |  |  |  |  | 
Grounds | $15,000 | $41,925 | $4,500 |  |  |  |  |  |  | 
Portables |  | $13,000 | $15,000 | $15,000 | $23,000 | $3,000 | - | - | $7,000 | 
Total WMS (WO grant/bond) | $146,475 | $204,085 | $95,555 | $143,881 | $53,000 | $138,825 | $39,825 | $69,790 | $101,517 | $185,512

## Slide 54
Woodland High School
Home of the Beavers

## Slide 55: WHS Statistics
  Site 40.88 acres (2 parcels)
  Building footprint approximately 2.64 acres (.97)
  153,000 gross sqft
  Original construction 2013/14
  Parking – 414 car 10 ADA, 14 bus with auto shadow lines (46 auto)
  Current staff 734 students 64 staff
  Classrooms
    18 Regular classrooms
    6 Science labs
    3 Computer /IT lab
    1 Culinary
    2 Business lab
    1 Horticulture
    1 Music room
    2 Resource
    1 Life Skills (currently SPED classroom)
    1 Music room
    1 Career center
    2 Art rooms

## Slide 56: WHS Historical Look
  Bond levy passed 2012
  Construction began 2013
  Construction ends 2015
  First class 2015

## Slide 57
Stadium
Locker room
Gym
Spin/weight Room
Classroom wing north
Classroom bridge north
Classroom bridge south
Classroom wing south
Entrance awnings (7 installations)
A North parking
B Sport fields and approaches
C Gym and exit rd.
D Main Parking west
E Main parking east
WHS Roof and
Blacktop Map
A
E
B
C
D
C
1
2
3
4
5
6
8
7
1
9

## Slide 58
WHS
ROOFING ANALYSIS
Name /Area | Sqft. | Type | Grade (key below) | Remaining Life | Cost (NA if past 10 years) | Expect Replacement Date | Note
Stadium | 11,700 | Metal | A | 92.5% | N/A | 30-50 year (40) | 
Locker Room | 10,250 | Metal | A | 92.5% | N/A | 30-50 year (40) | 
Gym | 49,675 | Composition | A | 92.5% | N/A | 22 year | 
Spin/Weight Room | 7,000 | Metal | A | 92.5% | N/A | 30-50 year (40) | 
Classroom Wing North | 26,426 | Composition | A | 88% | N/A | 22 year | 
Classroom Bridge North | 5,720 | Composition | A | 88% | N/A | 22 year | 
Classroom Bridge South | 6,435 | Composition | A | 88% | N/A | 22 year | 
Classroom wing South | 21,450 | Composition | A | 88% | N/A | 22 year | 
Entrance Awnings | 1,800 | Metal | A | 92.5% | N/A | 30-50 year (40) | 
A | New condition | B | Near new condition 75% | C | Mid life span 50% | D | Requires moderate repairs 25% | F | Imminent failure, in need of replacement

## Slide 59: WHS Blacktop Analysis
Name /Area | Sqft. | Current Type | Grade | Cost of Repair sqft. | Extended Cost | Note
North parking lot | 89,785 | Blacktop | A | .36 | $32,322 | Sealcoat/stripe/repaired 2020/2025
Sports field and stadium approaches service rds. | 40,500 | Blacktop | A | .36 | $14,580 | Sealcoat/stripe/repaired 2023/2028
Gym parking and exit road | 82,500 | Blacktop | A | .36 | $29,700 | Sealcoat/stripe/repair 2022/2027
Main parking west and entrance rd. | 62,000 | Blacktop | A | .36 | $22,320 | Sealcoat/stripe/repair 2021/2026
Main parking east | 64,980 | Blacktop | A | .36 | $23,392 | Sealcoat/stripe/repair 2021/2026

## Slide 60: WHS Flooring
All Flooring >10 years

## Slide 61: WHS HVAC
Two Fulton high efficiency boilers
Multiple HW/CW air handlers
Multiple MAU with heat recovery
No major maintenance expected within 10 years other than routine preventive maintenance.

## Slide 62: WHS Structural and Exterior
Built to seismic design category D (high seismic vulnerability)
No structural cost expected within 10 years
Seismic Design Category (SDC) | Definition
A | Very small seismic vulnerability
B | Low to moderate seismic vulnerability
C | Moderate seismic vulnerability
D | High seismic vulnerability
E&F | Very high seismic vulnerability and near major fault

## Slide 63: WHS Utilities
Electrical
  12.5KW Solar facility install 2018/2027-$10,000
GAS
  Install gas leak detection and isolation system 2019-$6,000
Fire Safety
  Fully sprinklered interior wet system, exterior dry system

## Slide 64: WHS Grounds
Install well storage and distribution system 35k
Apply for water rights

## Slide 65: WHS 120 Month Plan
6 month | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
Blacktop | - | - | $32,322 | $46,118 | $29,700 | $14,580 | - | $32,322 | $46,718 | $29,700
Roof | - | - | - | - | - | - | - | - | - | -
Flooring | - | - | - | - | - | - | - | - | - | -
HVAC | - | - | - | - | - | - | - | - | - | -
Structural/Ext. | - | - | - | - | - | - | - | - | - | -
Utilities | 10,000 | 6,000 | - | - | - | - | - | - | - | -
Grounds | - | 35,000 | - | - | - | - | - | - | - | -
Portables | - | - | - | - | - | - | - | - | - | -
Total WMS (WO grant/bond) | 10,000 | 41,000 | 32,000 | 46,118 | 29,700 | 14,580 |  | 32,322 | 46,718 | 29,700

## Slide 66
Yale School
Home of the Cougars

## Slide 67: Yale School Historical Look
Gym Complete
Restoration 2014
Old school Location
Demolished
House
Current School Building
Constructed 1962
Cafeteria
and Library
Addition 1993

## Slide 68: Yale School School Statistics
  Site 8.94 acres (2 parcels)
  Building area .33 acres (School .25, Gym .08)
  Original construction 1962
  Addition 1993 adds library, cafeteria and hallway
  Total sqft. 14,975 (school 11,000 gym 3975)
  3 Classrooms
  Library
  Cafeteria
  Parking, gravel lot. Estimated @30 spaces
  7 staff 39 students

## Slide 69: Yale School Blacktop and Roof Plan
Roof
1 Main school building
2 Gym roof
Blacktop
A Gravel only
A
2
1

## Slide 70: Yale School Roof Plan & Blacktop Plan
Name /Area | Sqft. | Type | Grade (key below) | Remaining Life | Cost (NA if past 10 years) | Expected Life | Note
School | 10960 | Comp cap Built-up | D | 5% | $71,240 | 25 year | Heavy ripples may not be coated
Gym | 3800 | Metal | A | 92.5% |  | 30-50 year(40%) | 
Name /Area | Sqft. | Current Type | Grade | Cost of Repair sqft. | Extended Cost | Note
Parking area | 23,250 | Gravel | N/A | .15 | $2000 | Re-gravel annual

## Slide 71: Yale School Flooring
Area | Material | Condition | Notes
Kitchen | VCT tile | C 7,500-2025 | Tile and adhesive possible source of asbestos
Entry and main hall | Carpet over VCT | C 5,000-2025 | Asbestos risk
Classroom 1 | Carpet over VCT | B $5,000-2027 | Asbestos risk
Classroom 2 | Carpet over VCT | B $5,000 -2027 | Asbestos risk
Classroom 3 | Carpet over VCT | B $5,000-2026 | Asbestos risk
Library | Carpet | B $5,000-2026 | 
Cafeteria | Tile | B $5,000-2025 | 
A | New or like new > 10 years Life | B | Slight even wear replace estimated 26-27 | C | Worn evenly no damage replace Estimated 22-25 | D | Perm. stain, minor delamination seam damage replace 18-21 | F | Extensive damage replace immediately

## Slide 72: Yale School HVAC
Currently heated by 55+ year old, oil fired steam boiler. This system is currently in the planning phase for replacement, funded mostly by a State grant.
System is slated for replacement summer of 2018
Library and cafeteria are heated by 2 small oil forced-air furnaces
Semi automatic pellet boiler system backed up with propane trimming boiler.
Abandon in place existing steam boiler and piping systems
Install new hot water recirculation line throughout the building
Install new wall mounted hot water fan filter units

## Slide 73: Yale School Utilities
Water
  Well system and storage tank
  Interior piping galvanized Steel
  Add chlorination system 2018-$7,500
  Add drinking water service line-2019 -$5,000
Electrical
  Main switchboard cleaning and maintenance 2020-$2,500
Propane
  Heating for gym area
  Install gas leak detection and auto shutoff 2019 - $2,500
Fire safety
  No sprinklers, install fire pump and distribution $50,000k (seek grant$$)

## Slide 74: Yale School Grounds
Replace Play Structure
  Existing structure build in 80’s and presents hazards (Healthy Kids grant) $25,000
Covered Walkway (120 lf) $8,000
  Add 120 lf of covered walkway to existing system
Structural and Exterior
  No cost within 10 years

## Slide 75: Yale School 120 Month Plan
6 month | 1 year 2018 | 2 year 2019 | 3 year 2020 | 4 year 2021 | 5 year 2022 | 6 year 2023 | 7 year 2024 | 8 year 2025 | 9 year 2026 | 10 year 2027
Roof |  |  | $71,240 |  |  |  |  |  |  | 
Blacktop |  |  |  |  |  |  |  |  |  | 
Flooring |  |  |  |  |  |  |  | 17,500 | 10,000 | 10,000
HVAC | 20,000 |  |  |  |  |  |  |  |  | 
Structural /Exterior |  |  |  |  |  |  |  |  |  | 
Utilities | 7,500 | 7,500 |  |  |  |  |  |  |  | 
Grounds | 12,500 | 8,000 |  |  |  |  |  |  |  | 
Portables |  |  |  |  |  |  |  |  |  | 
Total Yale (WO grant/bond) | $39,500 | $15,500 | $71,240 |  |  |  |  | 17,500 | 10,000 | 10,000
Grant/bond $$ | 12,500 | 50,000 |  |  |  |  |  |  |  | 

## Slide 76: District Assets Equipment, Vehicles and Holdings
Partners In Transition (PIT) house
TEAM and BO portables
Fleet Vehicles
Grounds Equipment
District Assets 10 year plan
Consolidated 10 year plan

## Slide 77: Pit House 10 year plan
 | 1 year 2018 | 2 year 2019 | 3 year 2020 | 4 year 2021 | 5 year 2022 | 6 year 2023 | 7 year 2024 | 8 year 2025 | 9 year 2026 | 10 year 2027 | 
Roof 3 tab |  |  |  |  |  |  | $8,000 |  |  |  | 
Exterior finishes |  |  | $12,500 |  |  |  |  |  |  |  | LP siding (the bad kind) & paint
Plumbing |  |  |  |  |  |  |  |  |  |  | 
Kitchen |  |  |  |  |  |  |  |  |  |  | 
Flooring |  |  |  |  |  |  |  |  |  |  | 
Grounds |  |  |  |  |  |  |  |  |  |  | 

## Slide 78: Team and BO Portables Portable Plan
Port. Bldg. | Use | Roof | Siding | Ramp | Flooring | Int. Finish | Ext Paint | Rest Rooms | Cost/ Notes
Business Office | WCC | 3 Tab >10yr | A | Newer Alum | Carpet Original | A | 2025 $2500 | Yes OK | Building in good material condition. exterior painted 8/17
TEAM High | Storage | 3 Tab >10yr | A | Newer Alum | Carpet Original | A | 2025 $2500 | Yes OK | Building in good material condition. exterior painted 8/17

## Slide 79: District Grounds Equipment
MFG | MDL | EQ TYPE | YEAR | LOCATION | 
John Deere | JDX 750 | Mower | 2015 | WMS | New for WHS
John Deere | JDX 748 | Mower | 2007 | WMS | >10 yr.
John Deere | 2032 | Tractor | 2015 | WMS | New for WHS
John Deere | JD 955 | Tractor | 1997 | WHS | >10 yr.
Kubota | ZG 222 | Mower | 2008 | WHS | >10 yr.
John Deere | JD 455 | Mower | 1995 | WIS | Replace 2023 @ $7,500
John Deere | JD 455 | Mower | 1995 | Yale | >10 yr.
Equipment | Model | Cost | Year
Field Mower | TBD | 20,000 | New
Exterior 45’ Lift | JLG or Genie DSL | $10,000 | Very Used

## Slide 80: Fleet Vehicle's
Name | Year | Make | Model | Location/Use | Color | Mileage | Action | RPL | Cost
Grounds truck | 88 | Chevy | C-20 | Grounds | White | 165,033 | Sell |  | 
Grounds Truck | 1991 | Chevy | C-20 | Grounds | Red | 236,552 | Sell and replace with used 4WD LB DSL | 2019 | $15,000
HVAC Van | 2002 | Ford | Club Wagon | KWRL | White | 109,793 | Keep until no longer serviceable |  | 
Tech Van | 1989 | Chevy | Sports van | Tech | Grey | 46,203 | Keep until no longer serviceable |  | 
White van | 1986 | Ford | Club Wagon | Maintenance | White | 66,899 | Keep until no longer serviceable |  | 
Maintenance truck | 2006 | Chevy | Silverado | Maintenance | White | 112,711 | Keep until no longer serviceable |  | 
Pit 2 | 2004 | Chrysler | T&C | Pit /BO | Silver | 136,494 |  | 2022 | 
E11 | 2015 | Chevy | Express | WHS | White | 26,810 |  | 2026 | $28,000
E12 | 2015 | Chevy | Express | WHS | White | 23,153 |  | 2027 | $28,000
E13 | 2015 | Chevy | Express | WHS | White | 14,399 |  | 2028 | $28,000
Suburban | 2004 | Chevy | Suburban | WHS |  | 130,557 | Replace with used 8 passenger Van | 2021 | 15,000
Mini 1 | 2007 | Dodge | Caravan | WHS | Bl/Gr | 96,116 |  |  | 
Mini 2 | 2006 | Dodge | Caravan | WHS | Lt Blue | 113426 |  |  | 

## Slide 81: District Summary 120 Month Plan
6 month | 1 year 2018 | 2 year 2019 | 3 year 2020 | 4 year 2021 | 5 year 2022 | 6 year 2023 | 7 year 2024 | 8 year 2025 | 9 year 2026 | 10 year 2027
PIT house | - | - | $12,500 | - | - | - | $8,000 | - | - | -
TEAM and BO Portables | - | - | - | - | - | - | - | $5,000 | - | -
Grounds Equipment | - | - | - | - | $20,000 | $7,500 | - | - | - | -
Fleet Vehicles | - | $15,000 | - | $15,000 | - | - | - | - | $28,000 | $28,000
Total |  | 15,000 | 12,500 | 15,000 | 20,000 | 7500 | 8000 | 5000 | 28000 | 28000

## Slide 82: District Summary 120 Month Plan
6 month | 1 year 2018 | 2 year 2019 | 3 year 2020 | 4 year 2021 | 5 year 2022 | 6 year 2023 | 7 year 2024 | 8 year 2025 | 9 year 2026 | 10 year 2027 | School Total
Woodland Primary | $122,380 | $88,740 | $70,885 | $56,000 | $51,960 | $39,420 | $53,990 | $65,885 | $7,000 | $3,960 | $560,220
Woodland Intermediate | $16,000 | $61,740 | $10,000 | - | $37,860 | $15,000 | $35,240 | $15,000 | $30,000 | $57,860 | $278,700
Woodland Middle | $146,475 | $204,085 | $95,555 | $143,881 | $53,000 | $138,825 | $39,825 | $69,790 | $101,517 | $185,512 | $1,178,465
Woodland High | $10,000 | $41,000 | $32,000 | $46,118 | $29,700 | $14,580 | - | $32,322 | $46,718 | $29,700 | $282,138
Yale School | $39,500 | $15,500 | $71,240 | - | - | - | - | $17,500 | $10,000 | $10,000 | $163,740
District Assets | - | $15,000 | $12,500 | $15,000 | $20,000 | $7,500 | $8,000 | $5,000 | $28,000 | $28,000 | $139,000
Total | $334,355 | $426,065 | $292,180 | $260,999 | $192,520 | $215,325 | $137,055 | $205,497 | $223,235 | $315,032 | $2,602,263
Total @2.5%/yr. increase | - | $472,079 | $306,206 | $280,573 | $211,722 | $242,240 | $157613 | $241,458 | $267,882 | $385,914 | $3,196,959